**ÇİFT KLAPELİ ÇEK VANA KULLANMA TALİMATI / USER MANUEL FOR DUAL PLATE CHECK VALVE**

**UYGULAMA ALANLARI / APPLICATION**

**AÇMA BASINCI**

Design with plastic lining: for drinking water and sea water. Design with rubber lining:

for sea water. Design with dampers: to solve waterhammer problems.

Metal-to-metal or elastic seat (EPDM, FPM)

**BASINÇ DÜŞÜMÜ EĞRİSİ**

